## analyticalinfo
request_var_1isYes | justification | id_line | prefix | Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks | Unique Identifier | Source | Origin
0 |  | 1 | anl | biomarkercode | Biomarker abbreviation as used in the SAMPLETIMEPOINT tabs | varchar |  | 0 | [7 empty] | 1
0 |  | 2 | anl | matrix | matrix abbreviation | categorical |  | 0 |  |  | BWB = Blood-whole blood; BP = Blood -plasma; BS = Blood -serum; CBWB = Cord blood-whole blood; CBP = Cord blood-plasma; CBS = Cord blood-serum; US = Urine- random spot; UD = Urine-24h; UM = Urine-first morning urine; SA = Saliva/sputum; SEM = Semen; EBC = exhaled breath condensate; RBC = red blood cells; BM = Breast milk; ADI = Adipose Tissue/Fat; H = Hair; DW = dermal wipes; AF = Amniotic Fluid; PLT = placenta tissue |  |  |  |  | 1
0 |  | 3 | anl | labinstitution | institution name acronym of the laboratory performing the chemical analysis | varchar |  | 1
0 |  | 4 | anl | labgroup | if applicable; name of the group within the institution/laboratory performing the chemical analysis | varchar |  | 1
0 |  | 5 | anl | labcountry | country of the laboratory performing the chemical analysis, according to ISO 3166-1 alpha-2 | varchar |  | 1 | [6 empty] | Source: https://op.europa.eu/en/web/eu-vocabularies/samples: Use the 2-letter code (ISO 3166-1 alpha-2 in column interinstitutional_style_guide_code), e.g. 'BE' = Belgium
0 |  | 6 | anl | accreditedmethod | Successful participation in proficiency tests (PTs) by the time of analysis (not longer ago than 2 years before analysis of last sample from the study, or 1 year depending on the frequency of PTs) | categorical |  | 1 |  |  | 1 = QMEQAS (Quebec Multielement External Quality Assessment Scheme); 2 = OSEQAS (External Quality Assessment Scheme for Organic Substances in Urine); 3 = AMAP (Arctic Monitoring and Assessment Programme); 4 = G-EQUAS(German External Quality Assessment Scheme); 5 = QA/QC HBM4EU programme; 6 = QA/QC PARC programme; 7 = No proficiency test participation in last 2 years; 8 = other; 9 = multiple; 10 = CTQ-INSPQ; 11 = UK NEQAS for Trace Elements
0 |  | 7 | anl | accreditedmethod_multiple | Successful participation in proficiency tests (PTs) by the time of analysis - multiple options | varchar |  | 1 |  |  |  |  | IF accreditedmethod IS 9 THEN accreditedmethod_multiple IS not empty |  | Combine categories in accreditedmethod options separated by semicolon (e.g: 1;2;3;4)
0 |  | 8 | anl | accreditedmethod_other | Successful participation in PTs by the time of analysis - other method not specified in variables accreditedmethod options | varchar |  | 1 |  |  |  |  | IF accreditedmethod IS 8 THEN accreditedmethod_other IS not empty
0 |  | 9 | anl | method | analytical method used | categorical |  | 1 |  |  | 1 = Atomic Absorption Spectroscopy (AAS); 2 = Cold Vapor Atomic Absorption Spectrometry (CV-AAS); 3 = Cold Vapor Atomic Fluorescence Spectrometry (CV-AFS); 4 = Direct Mercury Analyser; 5 = Enzyme-linked Immunosorbent Assay(ELISA); 6 = Gas Chromatography-flame Photometric Detector (GC-FPD); 7 = Gas Chromatography/High-resolution Mass Spectrometry (GC-HRMS); 8 = Gas Chromatography-Mass Spectrometry(GC-MS); 9 = Gas Chromatography-Tandem Mass Spectrometry(GC-MS/MS); 10 = Gas Chromatography Coupled with the Nitrogen Phosphorous Detector(GC-NPD); 11 = Graphite Furnac eAtomic Absorption Spectroscopy (GF-AAS); 12 = Hydride Generation Atomic Absorption Spectroscopy (HG-AAS); 13 = High Performance Liquid Chromatography-Inductively Coupled Plasma Mass Spectrometry (HPLC-ICP-MS); 14 = Ion Chromatography-Inductively Coupled Plasma Mass Spectrometry (IC-ICP-MS); 15 = Dynamic Reaction Cell Inductively Coupled Plasma Mass Spectroscopy (DRC-ICP-MS); 16 = Inductively Coupled Plasma Atomic Emission Spectroscopy (ICP-AES); 17 = Inductively Coupled Plasma Mass Spectrometry (ICP-MS); 18 = Liquid Chromatography Fluorescence Detector (LC-FLD); 19 = Liquid Chromatography/High-resolution Mass Spectrometry (LC-HRMS); 20 = Liquid Chromatography–Inductively Coupled Plasma Mass Spectrometry( LC-ICP-MS); 21 = Liquid Chromatography with Tandem Mass Spectrometry (LC-MS/MS); 22 = Microflow Liquid Chromatography–Tandem Mass Spectrometry (micro-LC-MS/MS); 23 = Microflow Gas Chromatography–Tandem Mass Spectrometry (micro-GC-MS/MS); 24 = other; 25 = LC-UV/DAD (Liquid Chromatography with UV/VIS detection); 26 = IC-MS/MS (Ion Chromatography with tandem mass spectrometry); 27 = GC-HRMS (sector) (Gas Chromatography/magnetic sector high resolution Mass Spectrometer); 28 = GC-ECD (Gas Chromatography – electron capture detection); 29 = Colorimetry; 30 = Gravimetric analysis
0 |  | 10 | anl | method_other | analytical method used - if method was other than the specified options | varchar |  | 1 |  |  |  |  | IF method IS 24 THEN method_other IS not empty
0 |  | 11 | anl | lod_def | Specifiy the definition used to define the LOD | categorical |  | 1 |  |  | 1 = S/N equals 3; 2 = Average blank signal + 3*SD; 3 = 3*SD of blank; 4 = LOQ/3.3; 5 = Other
0 |  | 12 | anl | lod_def_other | In case of "other Definition LOD" please specify | varchar |  | 1
0 |  | 13 | anl | loq_def | Specifiy the definition used to define the LOQ | categorical |  | 1 |  |  | 1 = S/N equals 6; 2 = S/N equals 10; 3 = Average blank signal + 3*SD; 4 = 3*SD of blank; 5 = LOD*3.33; 6 = 10*SD of blank/slope of cal. Curve; 7 = DIN32645; 8 = Lowest successfully validated level (LVL); 9 = Lowest calibration level (LCL); 10 = Other
0 |  | 14 | anl | loq_def_other | In case of "other Definition LOQ" please specify | varchar |  | 1
0 |  | 15 | anl | sample_preparation_method | Sample preparation method | categorical |  | 1 |  |  | 1 = LLE (Liquid-liquid extraction); 2 = SPE (solid-phase extraction); 3 = online-SPE (online solid-phase extraction); 4 = SPME (solid-phase microextraction); 5 = Soxhlet extraction; 6 = ASE/PSE (accelarated or pressurized solvent extraction); 7 = MAE/MASE (microwave assistant (solvent) extraction); 8 = Ultrasonic extraction methods; 9 = Ultra-Turrax extraction; 10 = Direct analysis
0 |  | 16 | anl | analytical_phase_qa_qc_sops | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦ SOPs established in the lab | categorical |  | 1 |  |  | 0 = No; 1 = Yes
0 |  | 17 | anl | analytical_phase_qa_qc_blank | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦Regular use of blank samples | categorical |  | 1 |  |  | 0 = No; 1 = Yes
0 |  | 18 | anl | analytical_phase_qa_qc_ref | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦ Regular use of reference material | categorical |  | 1 |  |  | 0 = No; 1 = Yes
0 |  | 19 | anl | analytical_phase_qa_qc_repl | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦ Replicate samples | categorical |  | 1 |  |  | 0 = No; 1 = Yes
0 |  | 20 | anl | analytical_phase_qa_qc_meas | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦ Measurement uncertainty | categorical |  | 1 |  |  | 0 = No; 1 = Yes
0 |  | 21 | anl | analytical_phase_qa_qc_ilc | Indicate which analytical QA/QC measures are adopted in the study ¦¦¦ Participation in the inter-laboratory comparisons | categorical |  | 1 |  |  | 0 = No; 1 = Yes